{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["测温报价方案清单","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"测温报价方案清单","index":0,"n_rows":9,"n_cols":7,"rows_kept":9,"merged":[[0,0,0,6],[8,2,8,5]],"flags":["formulas_cached_only"]}
["恩施土司城红外体温检测仪报价清单"]
["序号","名称","参数","数量","单位","单价","小计"]
[1,"测温双光谱筒型摄像机","热成像：分辨率160 × 120；\n热成像焦距6mm；\n视场角：25°×18.7°;\n可见光：分辨率2688*1520；\n可见光焦距8mm；\n视频模式：双光融合；",2,"台"]
[2,"液晶显示屏","42英寸液晶显示屏",2,"台"]
[3,"客户端管理软件","浏览和管理照片流",2,"套"]
[4,"主机","用于运行客户端管理软件",2,"台"]
[5,"定制支架","螺丝尺寸： 1/4-20UNC\n节数： 3 \n最低： 710mm\n最高： 1800mm\n最大管径： 29.3mm \n最小管径： 23mm \n自重： 1.66kg\n最大负重： 5kg",2,"套"]
[6,"设备安装调试","（1）含运输、辅料、电源线、网线等线缆、设备取电、设备安装、调试以及各个安装点运费。\n（2）包含免费三年维保，免费培训。",2,"批"]
[7,"合计"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}