{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":29,"n_cols":4,"rows_kept":29,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["恩施州国投公司经营性资产                     （原粮油储备公司）办公楼维修清单"]
["序号","项   目","单 位","数量"]
[1,"（501）清理屋内杂物"]
[2,"拆除旧门窗及转运"]
[3,"安装铝合金窗户","㎡",14]
[4,"墙面刷白","㎡",130]
[5,"安灯及整理线路"]
[6,"室内清扫"]
[null,"小计"]
[1,"（502）室内清理杂物及转运"]
[2,"室内安灯及整理线路"]
[3,"室内刷白","㎡",100]
[4,"清扫卫生"]
[" "," 小计"]
[1,"（503）室内清扫杂物及转运"]
[2,"安灯及线路修复"]
[3,"墙面刷白","㎡",100]
[4,"清扫卫生"]
[" ","小计"]
[1,"（601）室内清除杂物及转运"]
[2,"拆除旧门窗及转运"]
[3,"安装铝合金窗户","㎡",20]
[4,"更换厕所门（塑钢门）","套",1]
[5,"更换线路及插座、灯具等","㎡",65]
[6,"墙面刷白","㎡",250]
[7,"厕所水管维修"]
[8,"清扫卫生"]
[null,"小计"]
[null,"合     计"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}