{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":22,"n_cols":10,"rows_kept":22,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
[" 恩施州国投公司173号资产(大唐）主排污沟维修预算清单"]
["序号","项   目","单 位","数量"," 单 价 ","小计"]
[1,"揭80*50水泥盖沟板","m",63]
[2,"人工开打地坪及开挖土石方"]
[3,"水泥砂浆倒地坪"]
[4,"拆除旧破裂排污管"]
[5,"清理主排污管、粪渣","m",63]
[6,"袋装主排污沟粪渣","袋",130,null,null,"  "]
[7,"车辆运输粪渣及上车","车",2]
[8,"4*4角铁焊支架（40*30）","个",45]
[9,"中300排污管","m",45]
[10,"中300半弯","个",12]
[11,"中300直接","个",10]
[12,"中300大小头","个",5]
[13,"专用排水胶","盒",2,{"$nulls":3},"                                                                                      "]
[14,"安装支架","个",45]
[15,"安装主排污管","m",63]
[16,"恢复盖沟板","m",63]
[17,"清洗院坝及水泥砂浆补缝",{"$nulls":7},"                                                                                                                                                                        "]
[18,"合     计"]
[{"$nulls":5}," "]
[{"$nulls":5}," "]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}